{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["纺织皮革"],"read":"whole","date_system":"1900"}

{"sheet":"纺织皮革","index":0,"n_rows":8,"n_cols":2,"rows_kept":8,"merged":[[0,0,0,1]]}
["获CNAS认可的计量校准项目  纺织皮革计量"]
["序号","标准名称"]
[1,"圆盘取样器校准规范"]
[2,"染色摩擦色牢度仪校准规范"]
[3,"标准光源箱校准规范"]
[4,"电子式单纤维强力仪校准规范 "]
[5,"橡胶阿克隆磨耗试验机检定规程"]
[6,"织物厚度仪校准规范"]